## ERAS Cycle 1
ERAS Cycle 1 participants were determined by application submission time, common constraint review, application withdrawals, and cure of application deficiencies prior to the kickoff deadline.
Project Number | Application ID | Interconnection Customer | Request Status | Order Submitted | Submission Time | Application In Service Date | Transmission Owner | County | State | Study Cycle | Service Type | POI Name | Max Summer MW | Max Winter MW | Fuel Type | Generating Facility | Post GIA Status | Negotiated In Service Date | Requested ERIS MW | Requested NRIS MW | MW Range of Need | Location of Need | Carve Out Requested | Non-Confidential Summary
E0005 | 100014 | Otter Tail Power Company | Active | 2 | 2025-08-06 09:00 | 2028-05-04 | Otter Tail Power Company | Otter Tail | MN | ERAS Study Cycle 1 | NRIS | Hoot Lake 115 kV Substation | 90.72 | 90.72 | Battery Storage | Battery Storage | Not started |  | 75 | 75 | 20-75 | Otter Tail County, MN, LRZ 1 | N/A | The 75 MW Hoot Lake Battery Energy Storage System is serving the identified need from our MN Integrated Resource Plan and meeting the 20-75 MW of Ordered battery procurement. The need identified in our Integrated Resource Plan is in Otter Tail County, Minnesota, LRZ1.
E0023 | 100105 | Minnesota Municipal Power Agency | Active | 3 | 2025-08-06 09:00 | 2028-07-03 | Northern States Power Company | Rice | MN | ERAS Study Cycle 1 | NRIS | Fairbault Energy Park | 393.6 | 393.6 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 60 | 60 | 50-100 | Rice County, MN, LRZ 1 | N/A | Faribault Energy Park, located in Rice County, Minnesota is located in LRZ 1. Faribault Energy Park currently has a 300 MW interconnection agreement. We are planning to upgrade the gas turbine at the plant, which will result in increased output. This increased output will exceed the limits of the current interconnection agreement. We are requesting an additional 60 MW of interconnect capacity to allow for upgrading the gas turbine. The total interconnection would be 360 MW if this application is approved as requested. This additional transmission capacity would serve load within LRZ 1. The need is identified in MMPA's most recent integrated resource plan (Minnesota Public Utilities Commission Docket RP-25-302). This identifies a resource deficiency of 50-100 MW, which this project will serve.
E0011 | 100048 | Minnesota Power | Active | 4 | 2025-08-06 09:00 | 2027-01-01 | Minnesota Power, Inc. | Itasca | MN | ERAS Study Cycle 1 | NRIS | Boswell 230 kV | 86.8 | 86.8 | Solar | Photovoltaic | Not started |  | 85.01 | 85.01 | 250-300 | Itasca County, MN, LRZ 1 | N/A | The Boswell Solar Project will be built near the Boswell Energy Center in Itasca County, Minnesota. The Boswell Solar project will address the resource adequacy need identified in Minnesota Power’s approved Integrated Resource Plan filed with the Minnesota Public Utilities Commission in docket E015/RP-21-33. This solar project will be serving Minnesota Power’s need of approximately 250-300 MW of solar resources to be located in MISO Local Resource Zone 1. The Minnesota Public Utilities Commission held a Special Meeting on July 24, 2025 where it reviewed the resource adequacy need for various projects, including Boswell Solar, and subsequently issued the Relevant Retail Electric Regulatory Authority Verification Form confirming that Boswell Solar should be considered for the ERAS process in order to meet a resource adequacy and/or reliability need. The project has not requested a carveout through the Expedited Resource Acquisition Study process.
E0012 | 100076 | Red Oak Ridge Energy Center LLC | Active | 5 | 2025-08-06 09:00 | 2027-12-01 | American Transmission Company | Kenosha | WI | ERAS Study Cycle 1 | NRIS | Other | 1211.25 | 1211.25 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 1186 | 1186 | 1750-2000 | Kenosha County, WI, LRZ 2 | N/A | Invenergy is proposing a new 1186 MW gas fired electric generating facility to be located in Kenosha County, Wisconsin. The project will serve the needs of Wisconsin Electric's customers located in MISO's Local Resource Zone 2 ("LRZ 2") as described in the "Documentation of Need" of this application. The need identified is approximately 1,750-2,000 MW.
E0002 | 100013 | MidAmerican Energy Company | Active | 6 | 2025-08-06 09:00 | 2027-09-01 | MidAmerican Energy | Adair | IA | ERAS Study Cycle 1 | NRIS | Other | 265 | 265 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 263 | 263 | 250-300 | Adair County, IA, LRZ 3 | N/A | MidAmerican Energy’s Orient Energy Center project will be an up to 263 MW, natural gas fueled with fuel oil backup, simple cycle combustion turbine. The project is located in southern Adair County, Iowa and Local Resource Zone 3. Simple cycle natural gas-fired combustion turbines were identified as needed to meet MidAmerican customer’s capacity needs through MidAmerican's Resource Evaluation Study that was completed in 2024 and filed with the Iowa Utilities Commission on November 1, 2024, in Docket M-0156. MidAmerican's capacity deficiency is at least the 250-300 MW level of the ERAS submittal.
E0010 | 100085 | Alliant Energy / IPL | Active | 7 | 2025-08-06 09:00 | 2028-02-06 | ITC Midwest | Marshall | IA | ERAS Study Cycle 1 | NRIS | Other | 798.15 | 798.15 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 750 | 750 | 3250-3500 | Marshall County, IA, LRZ 3 | N/A | Interstate Power and Light Company (IPL) has filed a request for a 750 MW Combustion Turbine resource located in Marshall County, Iowa. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 3. This need comes to 3,250-3,500 MW. No carve out has been requested for this project.
E0003 | 100044 | Lincoln Capital Land, LLC | Active | 8 | 2025-08-06 09:00 | 2028-06-30 | City Water Light & Power | Sangamon | IL | ERAS Study Cycle 1 | NRIS | 343511 Palomino | 127.84 | 127.84 | Solar | Photovoltaic | Not started |  | 125.2 | 125.2 | 350-400 | Sangamon County, IL LRZ 4 | N/A | Lincoln Capital Land LLC 125 MW solar project is submitting an application into MISO’s ERAS process to address a portion of City Water Light & Power's (CWLP) unmet resource adequacy needs from the closure of a 350-400 MW facility within MISO Zone 4 and CWLP territory.
E0013 | 100051 | Ameren Missouri | Active | 15 | 2025-08-06 09:01 | 2028-06-06 | Ameren Missouri | Sullivan | MO | ERAS Study Cycle 1 | NRIS | Other | 310.25 | 310.25 | Solar | Photovoltaic | Not started |  | 300 | 300 | 250-300 | Saint Louis County, MO, LRZ 5 | N/A | Interconnection Customer: Union Electric Company d/b/a Ameren Missouri; Megawatt (MW) range: 250-300 MW; Location: Sullivan County, Missouri; Description of need being met: Solar facility serving resource adequacy deficiency identified in Ameren Missouri's 2025 Preferred Resource Plan; Carve-out: Not Applicable.
E0014 | 100063 | Entergy Louisiana, LLC | Active | 16 | 2025-08-06 09:01 | 2028-08-04 | Entergy Louisiana | Richland | LA | ERAS Study Cycle 1 | NRIS | Other | 1640 | 1640 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 1536 | 1536 | 2000-2250 | Richland County, LA, LRZ 9 | N/A | The resource adequacy need of greater than 2000-2250 MWs is being driven by a hyperscale data center. The Franklin Farms units are two of the three generators proposed to serve the outlined resource adequacy need.
E0015 | 100071 | Alliant Energy / IPL | Active | 17 | 2025-08-06 09:01 | 2028-02-06 | ITC Midwest | Franklin | IA | ERAS Study Cycle 1 | NRIS | Other | 360 | 360 | Wind | Wind Turbine | Not started |  | 350 | 350 | 3250-3500 | Franklin County, IA, LRZ 3 | N/A | Interstate Power and Light Company (IPL) has filed a request for a 350 MW wind resource located in Franklin County, Iowa. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 3. This need comes to 3,250-3,500 MW. No carve out has been requested for this project.