## ERAS 091225
Project Number | Application ID | Interconnection Customer | Request Status | Order Submitted | Submission Time | Application In Service Date | Transmission Owner | County | State | Study Cycle | Service Type | POI Name | Max Summer MW | Max Winter MW | Fuel Type | Generating Facility | Post GIA Status | Negotiated In Service Date | Requested ERIS MW | Requested NRIS MW | MW Range of Need | Location of Need | Carve Out Requested | Non-Confidential Summary
E0005 | 100014 | Otter Tail Power Company | Active | 2 | 2025-08-06 09:00 | 2028-05-04 | Otter Tail Power Company | Otter Tail | MN | ERAS Study Cycle 1 | NRIS | Hoot Lake 115 kV Substation | 90.72 | 90.72 | Battery Storage | Battery Storage | Not started |  | 75 | 75 | 20-75 | Otter Tail County, MN, LRZ 1 | N/A | The 75 MW Hoot Lake Battery Energy Storage System is serving the identified need from our MN Integrated Resource Plan and meeting the 20-75 MW of Ordered battery procurement. The need identified in our Integrated Resource Plan is in Otter Tail County, Minnesota, LRZ1.
E0023 | 100105 | Minnesota Municipal Power Agency | Active | 3 | 2025-08-06 09:00 | 2028-07-03 | Northern States Power Company | Rice | MN | ERAS Study Cycle 1 | NRIS | Fairbault Energy Park | 393.6 | 393.6 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 60 | 60 | 50-100 | Rice County, MN, LRZ 1 | N/A | Faribault Energy Park, located in Rice County, Minnesota is located in LRZ 1. Faribault Energy Park currently has a 300 MW interconnection agreement. We are planning to upgrade the gas turbine at the plant, which will result in increased output. This increased output will exceed the limits of the current interconnection agreement. We are requesting an additional 60 MW of interconnect capacity to allow for upgrading the gas turbine. The total interconnection would be 360 MW if this application is approved as requested. This additional transmission capacity would serve load within LRZ 1. The need is identified in MMPA's most recent integrated resource plan (Minnesota Public Utilities Commission Docket RP-25-302). This identifies a resource deficiency of 50-100 MW, which this project will serve.
E0011 | 100048 | Minnesota Power | Active | 4 | 2025-08-06 09:00 | 2027-01-01 | Minnesota Power, Inc. | Itasca | MN | ERAS Study Cycle 1 | NRIS | Boswell 230 kV | 86.8 | 86.8 | Solar | Photovoltaic | Not started |  | 85.01 | 85.01 | 250-300 | Itasca County, MN, LRZ 1 | N/A | The Boswell Solar Project will be built near the Boswell Energy Center in Itasca County, Minnesota. The Boswell Solar project will address the resource adequacy need identified in Minnesota Power’s approved Integrated Resource Plan filed with the Minnesota Public Utilities Commission in docket E015/RP-21-33. This solar project will be serving Minnesota Power’s need of approximately 250-300 MW of solar resources to be located in MISO Local Resource Zone 1. The Minnesota Public Utilities Commission held a Special Meeting on July 24, 2025 where it reviewed the resource adequacy need for various projects, including Boswell Solar, and subsequently issued the Relevant Retail Electric Regulatory Authority Verification Form confirming that Boswell Solar should be considered for the ERAS process in order to meet a resource adequacy and/or reliability need. The project has not requested a carveout through the Expedited Resource Acquisition Study process.
E0012 | 100076 | Red Oak Ridge Energy Center LLC | Active | 5 | 2025-08-06 09:00 | 2027-12-01 | American Transmission Company | Kenosha | WI | ERAS Study Cycle 1 | NRIS | Paris-Lakeview 345kV double circuit | 1211.25 | 1211.25 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 1186 | 1186 | 1750-2000 | Kenosha County, WI, LRZ 2 | N/A | Invenergy is proposing a new 1,186 MW gas fired electric generating facility to be located in Kenosha County, Wisconsin. The project will serve the needs of Wisconsin Electric's customers located in MISO's Local Resource Zone 2 ("LRZ 2") as described in the "Documentation of Need" of this application. The need identified is approximately 1,750-2,000 MW.
E0002 | 100013 | MidAmerican Energy Company | Active | 6 | 2025-08-06 09:00 | 2027-09-01 | MidAmerican Energy | Adair | IA | ERAS Study Cycle 1 | NRIS | Northboro-Orient 345kV | 265 | 265 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 263 | 263 | 250-300 | Adair County, IA, LRZ 3 | N/A | MidAmerican Energy’s Orient Energy Center project will be an up to 263 MW, natural gas fueled with fuel oil backup, simple cycle combustion turbine. The project is located in southern Adair County, Iowa and Local Resource Zone 3. Simple cycle natural gas-fired combustion turbines were identified as needed to meet MidAmerican customer’s capacity needs through MidAmerican's Resource Evaluation Study that was completed in 2024 and filed with the Iowa Utilities Commission on November 1, 2024, in Docket M-0156. MidAmerican's capacity deficiency is at least the 250-300 MW level of the ERAS submittal.
E0010 | 100085 | Alliant Energy / IPL | Active | 7 | 2025-08-06 09:00 | 2028-02-06 | ITC Midwest | Marshall | IA | ERAS Study Cycle 1 | NRIS | Twinkle 345kV Substation | 798.15 | 798.15 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 750 | 750 | 3250-3500 | Marshall County, IA, LRZ 3 | N/A | Interstate Power and Light Company ("IPL") has filed a request for a 750 MW Combustion Turbine resource located in Marshall County, Iowa. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 3. This need comes to 3,250-3,500 MW. No carve out was requested for this project.
E0003 | 100044 | Lincoln Capital Land, LLC | Active | 8 | 2025-08-06 09:00 | 2028-06-30 | City Water Light & Power | Sangamon | IL | ERAS Study Cycle 1 | NRIS | Palomino 138kV Substation | 127.84 | 127.84 | Solar | Photovoltaic | Not started |  | 125.2 | 125.2 | 350-400 | Sangamon County, IL LRZ 4 | N/A | Lincoln Capital Land LLC 125 MW solar project is submitting an application into MISO’s ERAS process to address a portion of City Water Light & Power's ("CWLP") unmet resource adequacy needs from the closure of a 350-400 MW facility within MISO Zone 4 and CWLP territory.
E0016 | 100075 | Invenergy Clean Power Development LLC | Active | 11 | 2025-08-06 09:00 | 2027-12-01 | AMERICAN TRANSMISSION COMPANY | Calumet | WI | TBD | NRIS | Forrest Junction | 1211.25 | 1211.25 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 1203 | 1203 | 2250-2500 | Calumet County, WI LA LRZ 2 |  | Invenergy is proposing a new 1203 MW gas fired electric generating facility to be located in Calumet County, Wisconsin. The project will serve the needs of Wisconsin Electric's customers located in MISO's Local Resource Zone 2 ("LRZ 2"). This facility will meet 1,203 MW of the 2250 - 2500 MW of need identified.
E0029 | 100061 | Entergy Louisiana, LLC | Active | 13 | 2025-08-06 09:00 | 2028-08-04 | Entergy Louisiana | St. Charles | LA | TBD | NRIS | Waterford 500kV Substation | 478 | 478 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 453.2 | 453.2 | 2000-2250 | St.Charles County, LA LRZ 9 | N/A | Developer: Entergy Louisiana, LLC MW range of need: 2,000-2,250 MW LRZ region: 9 General description of Load Need: The resource adequacy need is being driven by a hyperscale data center. The Waterford 5 unit is one of the three generators proposed to serve the outlined resource adequacy need.
E0030 | 100057 | ENTERGY TEXAS, INC. | Active | 14 | 2025-08-06 09:01 | 2027-09-25 | Entergy Texas | Jefferson | TX | TBD | NRIS | Legend 230kV Substation | 820 | 820 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 767.6 | 767.6 | 1400-1650 | Jefferson County, TX LRZ 9 | N/A | Developer: Entergy Texas, Inc. MW range of need: 1,400-1,650 MW LRZ region: Local Resource Zone 9 General description of Load Need: Forecasted load growth in the region driven primarily by increased residential and industrial customers.
E0013 | 100051 | Ameren Missouri | Active | 15 | 2025-08-06 09:01 | 2028-06-06 | Ameren Missouri | Sullivan | MO | ERAS Study Cycle 1 | NRIS | Zachary-Denny 345kV | 310.25 | 310.25 | Solar | Photovoltaic | Not started |  | 300 | 300 | 250-300 | Saint Louis County, MO, LRZ 5 | N/A | Developer: Union Electric Company d/b/a Ameren Missouri MW range of need: 250-300 MW Location: Sullivan County, Missouri General Description of Load Need: Solar facility serving resource adequacy deficiency identified in Ameren Missouri's 2025 Preferred Resource Plan.
E0014 | 100063 | Entergy Louisiana, LLC | Active | 16 | 2025-08-06 09:01 | 2028-08-04 | Entergy Louisiana | Richland | LA | ERAS Study Cycle 1 | NRIS | Smalling 230kV Substation (new) | 1640 | 1640 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 1536 | 1536 | 2000-2250 | Richland County, LA, LRZ 9 | N/A | Developer: Entergy Louisiana, LLC MW range of need: 2,000-2,250 MW LRZ region: 9 General description of Load Need: The resource adequacy need is being driven by a hyperscale data center. The Franklin Farms units are two of the three generators proposed to serve the outlined resource adequacy need.
E0015 | 100071 | Alliant Energy / IPL | Active | 17 | 2025-08-06 09:01 | 2028-02-06 | ITC Midwest | Franklin | IA | ERAS Study Cycle 1 | NRIS | Quinn-Blackhawk 345kV | 360 | 360 | Wind | Wind Turbine | Not started |  | 350 | 350 | 3250-3500 | Franklin County, IA, LRZ 3 | N/A | Interstate Power and Light Company ("IPL") has filed a request for a 350 MW wind resource located in Franklin County, Iowa. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 3. This need comes to 3,250-3,500 MW. No carve out was requested for this project.
E0017 | 100050 | Ameren Missouri | Active | 18 | 2025-08-06 09:01 | 2028-08-06 | Ameren Missouri | Lincoln | MO | TBD | NRIS | Harley-Pike 161kV | 257.88 | 257.88 | Battery Storage | Battery Storage | Not started |  | 250 | 250 | 250-300 | Lincoln County, MO LRZ 5 | N/A | Developer: Union Electric Company d/b/a Ameren Missouri MW range of need: 250-300 MW Location: Lincoln County, Missouri General Description of Load Need: Battery energy storage facility serving resource adequacy deficiency identified in Ameren Missouri's 2025 Preferred Resource Plan.
E0031 | 100058 | ENTERGY MISSISSIPPI, LLC | Active | 19 | 2025-08-06 09:01 | 2027-08-21 | ENTERGY MISSISSIPPI, LLC | Warren | MS | TBD | NRIS | Baxter Wilson 115kV Substation | 820 | 820 | Gas | Combined Cycle | Not started |  | 768.1 | 768.1 | 1200-1300 | Warren County, MS LRZ 10 | N/A | Developer: Entergy Mississippi, LLC MW range of need: 1,000 – 1,300 MW LRZ region: LRZ 10 General Description of Load: The resource adequacy need is being driven by overall load growth, that includes hyperscale data centers. The total load growth projected is 1,000 – 1,300 MW at peak demand. The entire load growth will be located in LRZ 10 in Mississippi. The Vicksburg CCCT (J3583) is one of two generators proposed to serve the outlined resource adequacy need.
E0026 | 100035 | Invenergy Cannon Falls, LLC | Active | 20 | 2025-08-06 09:01 | 2028-05-30 | Northern States Power Company | Goodhue | MN | TBD | NRIS | Colvill 115kV Substation | 428 | 428 | Gas | Combined Cycle | Not started |  | 57 | 57 | 1400-1500 | Goodhue County,MN LRZ 1 | N/A | Developer: Invenergy Cannon Falls, LLC MW Range of Need: 1,400 – 1,500 MW LRZ region: LRZ 1 (MN, ND, SD, WI and MI) General Description of Load: The project is a 57 MW uprate to the existing Cannon Falls plant's generating capacity in Cannon Falls, Minnesota. The project intends to uprate the net MW at the POI to 414 MW. This project fulfills a need specified in Xcel's IRP. Xcel Energy's letter to the PUC, dated July 22, as part of public Docket No. E002/RP-24-67, where by Xcel states, "...we request the Commission verify that the resources listed below are consistent with the needs identified by the Commission in our 2024-2040 Upper Midwest Integrated Resource Plan (2024 IRP) and should be considered in the ERAS process...incremental capacity that would result from planned upgrades at the Cannon Falls Energy Center..." (pg. 1), and "...As noted above, even with all of the approved firm dispatchable bids in our IRP, we still have 1,400 MW of remaining need in our Five-Year Action Plan. These incremental MWs of firm dispatchable capacity with minimal carbon emissions will help us meet our confirmed need.” (pg 7).
E0047 | 100059 | ENTERGY MISSISSIPPI, LLC | Active | 21 | 2025-08-06 09:01 | 2028-08-04 | ENTERGY MISSISSIPPI, LLC | Hinds | MS | TBD | NRIS | Green Acres 230kV (new) | 820 | 820 | Gas | Combined Cycle | Not started |  | 763.2 | 763.2 | 1200-1300 | Madison and Warren, MS, LRZ 10 | N/A | Developer: Entergy Mississippi, LLC MW Range of Need: 1,000 – 1,300 MW LRZ region: LRZ 10 General Description of Load Need: The resource adequacy need is being driven by overall load growth, that includes hyperscale data centers. The total load growth projected is 1,000 – 1,300 MW at peak demand. The entire load growth will be located in LRZ 10 in Mississippi. The Lakeover CCCT (J3825) is one of two generators proposed to serve the outlined resource adequacy need.
E0025 | 100047 | D/B/A ALLIANT ENERGY/IPL | Active | 22 | 2025-08-06 09:01 | 2028-02-06 | MidAmerican Energy | Linn | IA | TBD | NRIS | Morgann Valley - Beverly 45kVv | 986.9 | 986.9 | Gas | Combined Cycle | Not started |  | 950 | 950 | 3350-3500 | Linn County, IA LRZ 3 | N/A | Interstate Power and Light Company ("IPL") has filed a request for a 950 MW Combustion Turbine resource located in Linn County, Iowa. This project is needed to meet future resource adequacy requirements in MISO's LRZ 3. This need comes to 3,350-3,500 MW. No carve out was requested for this project.
E0018 | 100073 | DTE Electric Company | Active | 23 | 2025-08-06 09:01 | 2028-06-02 | Michigan Electric Transmission Company | Monroe | MI | TBD | NRIS | Monroe-Bayshore 315kV | 432 | 432 | Battery Storage | Battery Storage | Not started |  | 350 | 350 | 1500-1750 | Monroe County, LRZ 7 | N/A | The DTE Electric IRP filing (MPSC Docket No. U-21193) approved by the Michigan Public Service Commission ("MPSC") in 2023 demonstrates that DTE has a Zone 7 resource adequacy deficiency of 1,500-1750 MW as a result of the retirement of Monroe Units 3 and 4. The MPSC approved DTE's proposed course of action in the IRP, which includes 780 MW of storage capacity by 2030. The Monroe ERAS project has requested 350 MW of interconnection service in Zone 7, meeting the 150% requirement.
E0036 | 100099 | D/B/A ALLIANT ENERGY/WPL | Active | 24 | 2025-08-06 09:01 | 2028-02-06 | ITC MIDWEST | Freeborn | MN | TBD | NRIS | Freeborn 161kV Substation | 162 | 162 | Wind | Wind Turbine | Not started |  | 153 | 153 | 1000-1100 | Freeborn, MN LRZ 2 | N/A | Wisconsin Power and Light Company ("WPL") has filed a request for a 153 MW wind resource located in Franklin County, MN. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 2. This need comes to over 1,000-1,100 MW. No carve out was requested for this project.
E0037 | 100067 | D/B/A ALLIANT ENERGY/WPL | Active | 25 | 2025-08-06 09:01 | 2025-10-02 | AMERICAN TRANSMISSION COMPANY | Sheboygan | WI | TBD | NRIS | Sheboygan Energy Center 345kV | 454.8 | 454.8 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 150 | 150 | 1000-1100 | Sheboygan, WI LRZ 2 | N/A | Wisconsin Power and Light Company (WPL) has filed a request for a 150 MW combustion turbine resource addition (450 MW total at the point of interconnection) located in Sheboygan County, WI. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 2. This need comes to over 1,000 -1,100 MW.
E0007 | 100069 | DTE Electric Company | Active | 26 | 2025-08-06 09:01 | 2028-04-01 | Michigan Electric Transmission Company | Arenac | MI | TBD | NRIS | Twining-Whittemore 138kV | 179.52 | 179.52 | Solar | Photovoltaic | Not started |  | 175 | 175 | 1500-1750 | Arenac, MI, LRZ 7 | N/A | DTE Electric is submitting the Au Gres Solar Project for consideration in MISO’s first ERAS cycle when it opens on August 6, 2025. The Au Gres Solar Park Project will be sited in Arenac County. The project is aligned with DTE Electric’s 2022 IRP settlement agreement and the Proposed Course of Action (“PCA”), which was approved as the most reasonable and prudent means of meeting the Company’s energy and capacity needs over the five-year, 10-year, and 15-year time horizons (July 26, 2023, Order in U-21193). The DTE Electric IRP filing (MPSC Docket No. U-21193) approved by the Michigan Public Service Commission in 2023 demonstrates that DTE has a Zone 7 resource adequacy deficiency of 1,500-1750 MW as a result of the retirement of Monroe Units 3 and 4. The MPSC approved DTE's proposed course of action in the IRP, which includes 3,400 MW of renewables capacity by 2030. The Au Gres Solar project has requested 175 MW of interconnection service in Zone 7, meeting the 150% requirement.
E0008 | 100072 | DTE Electric Company | Active | 27 | 2025-08-06 09:01 | 2028-06-02 | ITC Transmission | Monroe | MI | TBD | NRIS | Enrico-Brownstown 345kV | 248 | 248 | Battery Storage | Battery Storage | Not started |  | 200 | 200 | 1500-1750 | Monroe, MI, LRZ 7 | N/A | DTE Electric is submitting the FERMI Storage Project for consideration in MISO’s first ERAS cycle when it opens on August 6, 2025. The Fermi Storage Project will be sited in Monroe County. The project will connect to the substation being constructed in Monroe County and is anticipated to provide 200 MW of battery storage nameplate capacity. The project is aligned with DTE Electric’s 2022 IRP settlement agreement and the Proposed Course of Action (“PCA”), which was approved as the most reasonable and prudent means of meeting the Company’s energy and capacity needs over the five-year, 10-year, and 15-year time horizons (July 26, 2023, Order in U-21193). The DTE Electric IRP filing (MPSC Docket No. U-21193) approved by the Michigan Public Service Commission in 2023 demonstrates that DTE has a Zone 7 resource adequacy deficiency of 1,500-1,750 MW as a result of the retirement of Monroe Units 3 and 4. The MPSC approved DTE's proposed course of action in the IRP, which includes 780 MW of storage capacity by 2030. The Fermi ERAS project has requested 200 MW of interconnection service in Zone 7, meeting the 150% requirement.
E0038 | 100068 | D/B/A ALLIANT ENERGY/WPL | Active | 28 | 2025-08-06 09:01 | 2025-10-02 | AMERICAN TRANSMISSION COMPANY | Winnebago | WI | TBD | NRIS | Neevin 138kV Substation | 450 | 454.8 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 150 | 150 | 1000-1100 | Winnebago, WI , LRZ2 | N/A | Wisconsin Power and Light Company (WPL) has filed a request for a 150 MW combustion turbine resource addition (450 MW total at the point of interconnection) located in Winnebago County, WI. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 2. This need comes to over 1,000 - 1,100 MW.
E0019 | 100081 | DTE Electric Company | Active | 29 | 2025-08-06 09:01 | 2028-04-01 | ITC Transmission | Salinac | MI | TBD | NRIS | Greenwood-Rapson 345kV | 213.18 | 213.18 | Solar | Photovoltaic | Not started |  | 200 | 200 | 1500-1750 | Salinac, MI, LRZ 7 | N/A | The Deckerville Solar Park Project will be sited in Sanilac County, Michigan. The project will connect to the Deckerville Solar Park substation being constructed in Sanilac County and is anticipated to provide 200 MW of nameplate capacity. The project was selected to fulfill demand for the amended and restated Special Contract between DTE Electric and Ford Motor Company (“Ford”) under DTE Electric’s voluntary green pricing (“VGP”) program that was approved by the Commission on December 19, 2024 in Case No. U-21285. The DTE Electric IRP filing (MPSC Docket No. U-21193) approved by the Michigan Public Service Commission in 2023 demonstrates that DTE has a Zone 7 resource adequacy deficiency of 1,500-1750 MW as a result of the retirement of Monroe Units 3 and 4. The MPSC approved DTE's proposed course of action in the IRP, which includes 3,400 MW of renewables capacity by 2030. The Deckerville Solar project has requested 200 MW of interconnection service in Zone 7, meeting the 150% requirement.
E0046 | 100017 | Indiana Municipal Power Agency | Active | 30 | 2025-08-06 09:01 | 2028-04-01 | Duke Energy Indiana | Anderson | IN | TBD | NRIS | Noblesville-Fall Creek 345kV | 267.75 | 267.75 | Gas | Combustion Turbine (Simple Cycle) | Not started |  | 253.26 | 253.26 | 200-300 | Anderson, IN, LRZ 6 | N/A | Wisconsin Power and Light Company ("WPL") has filed a request for a 150 MW combustion turbine resource addition (450 MW total at the point of interconnection) located in Winnebago County, WI. This project is needed to meet future resource adequacy requirements in MISO’s LRZ 2. This need comes to over 1,000 MW. No carve out has been requested for this project.
E0009 | 100021 | NextEra Energy Resources Development, LLC | Active | 31 | 2025-08-06 09:01 | 2028-02-25 | MidAmerican Energy | Linn | IA | TBD | NRIS | Arnold 161kV Substation | 675.5 | 675.5 | Nuclear | Steam Turbine ( including Nuclear) | Not started |  | 646 | 646 | 600-700 | Linn, IA, LRZ 3 | N/A | The Interconnection Customer (“NextEra Energy Resources Development, LLC” or “NER”) has filed for a 646 MW generating facility sited in Linn County, Iowa. The Project is located in MISO Local Resource Zone 3 and intends to address resource adequacy needs for approximately 600-700 MW in the same Local Resource Zone as the generating facility, as described in the attached RERRA verification letter.
E0024 | 100070 | NextEra Energy Resources Development, LLC | Active | 32 | 2025-08-06 09:01 | 2028-02-25 | Entergy Louisiana | Tangipahoa | LA | TBD | NRIS | Amite 115kV Substation | 207.9 | 207.9 | Battery Storage | Battery Storage | Not started |  | 200 | 200 | 200-400 | Tangipahoa, LA, LRZ 9 | N/A | Amite Energy Storage II (under NextEra Energy Resources Development, LLC) is a 200 MW, 4-hour battery energy storage system in Tangipahoa Parish, LA. The project is located in MISO Zone 9 within the transmission and generation constrained Amite South load pocket, and will support DEMCO’s and SLEMCO’s resource capacity needs in MISO Zone 9 obligated by the Louisiana Public Service Commission’s Minimum Capacity Obligation ("MCO"). The MCO requires SLEMCO and DEMCO to procure 90% of their MISO PRMR four years in advance of each Planning Resource Auction, and this 200 MW storage project will directly serve that obligation, as DEMCO and SLEMCO each have a 100-200 MW need to fulfill.
E0027 | 100030 | Red Butte Wind, LLC | Active | 33 | 2025-08-06 09:01 | 2028-02-25 | Minnesota Power, Inc. | Morton | ND | TBD | NRIS | Nelson Lake 230kV Substation | 456.84 | 456.84 | Wind | Wind Turbine | Not started |  | 426 | 426 | 1200-1300 | Oliver and Morton County, ND LRZ 1 | N/A | Red Butte Wind is an approximately 426 MW wind project in Morton and Oliver Counties, North Dakota. The project will be interconnecting in MISO Load Resource Zone 1. This location is consistent with the location of GRE's load growth as outlined in their Integrated Resource Plan ("IRP") filed in 2023. The IRP added more than 1 GW of wind by 2032 to enable GRE's Preferred Plan guided by GRE’s load forecasts, capacity expansion modeling, and projected capacity position.
E0020 | 100027 | Benton Solar II, LLC | Active | 34 | 2025-08-06 09:01 | 2028-02-25 | NORTHERN STATES POWER COMPANY | Benton | MN | TBD | NRIS | Benton County 115kV Substation | 105.84 | 105.84 | Solar | Photovoltaic | Not started |  | 100 | 100 | 400-500 | Benton, MN, LRZ1 | N/A | Benton Solar II is a 100 MW solar project in Benton County, MN. The project is located in MISO Zone 1 and will meet the Zone 1 load needs outlined by Xcel Energy’s 2024-2040 Upper Midwest Integrated Resource Plan ("2024 IRP"). The 2024 IRP identified the need for 400-500 MW of solar to support Xcel Energy’s plans to retire all of their coal plants by 2030.
E0040 | 100088 | Xcel Energy | Active | 35 | 2025-08-06 09:01 | 2028-04-08 | NORTHERN STATES POWER COMPANY | Reading | MN | TBD |  | Nobles County 345kV Substation | 313.92 | 313.92 | Battery Storage | Battery Storage | Not started |  | 300 | 300 | 1400-1500 | Reading, MN, LRZ 1 | N/A | The Nobles BESS project is a proposed 300 MW project located at 19469 McCall Avenue in Reading, Minnesota (Nobles County). The project seeks 300 MW of Network Resource Interconnection Service and targets a COD of 8/6/2028. It is intended to support near-term system reliability needs through fast response capacity. The 300 MW Nobles Energy Storage project is required to help meet the remaining approximately 1,350-1500 MW need in Xcel Energy’s 2024-2040 Integrated Resource Plan. The additional generation is needed in all NSP load areas, including NSP.NSP. The load resides in Local Resource Zone 1. The generating facility is interconnected to the Nobles 345 kV substation located in Nobles County, Minnesota.
E0006 | 100095 | Swift Energy Storage LLC | Active | 36 | 2025-08-06 09:01 | 2025-09-30 | SOUTHERN MINNESOTA MUNICIPAL POWER AGENCY | Olmsted | MN | TBD | NRIS | Byron 345kV Substation | 213.52 | 213.52 | Battery Storage | Battery Storage | Not started |  | 200 | 200 | 800-900 | Olmsted, MN, LRZ 1 | N/A | The proposed Sandhill Energy Storage project is a 200 MW/800 MWh Battery Energy Storage System (BESS) located in Olmsted County, Minnesota. The project is meeting Xcel Energy’s 2024-2040 IRP which identified 800-900 MW of need.
E0021 | 100026 | Brickyard Energy Storge, LLC | Active | 37 | 2025-08-06 09:01 | 2028-02-25 | Duke Energy Indiana | Boone | IN | TBD | NRIS | Hortonville-Whitestown 345kV | 309.96 | 309.96 | Battery Storage | Battery Storage | Not started |  | 300 | 300 | 700-800 | Boone, IN, LRZ 6 | N/A | Brickyard Energy Storage 300 MW, 4 hour battery energy storage system in Boone County, IN. The project is located in MISO Zone 6, will interconnect as a line-tap to AES Indiana's Hortonville - Whitestown 345 Line, and serve a peak demand of up to 200MW. The project will meet the load needs identified by AES Indiana's ongoing IRP. The 2025 IRP initial stakeholder meetings have identified the need for up to 700-800 MW of standalone storage by 2028 to support AES Indiana's plans for their projected hyperscaler data center load.
E0032 | 100060 | ENTERGY TEXAS, INC. | Active | 38 | 2025-08-06 09:01 | 2027-10-15 | ENTERGY TEXAS, INC. | San Jacinto | TX | TBD | NRIS | Jancinto 230kV Substation | 478 | 478 | Gas | Combined Cycle | Not started |  | 463.9 | 463.9 | 1450-1600 | SanJacinto, TZ, LRZ 9 | N/A | Developer: Entergy Texas, Inc. MW range of need the ERAS project is addressing: 1,400 – 1,500 MW LRZ region: Local Resource Zone 9 General Description of Load Need: Forecasted load growth in the region driven primarily by increased residential and industrial customers.
E0022 | 100028 | NextEra Energy Resources Development, LLC | Active | 39 | 2025-08-06 09:01 | 2028-02-25 | NORTHERN STATES POWER COMPANY | Benton | MN | TBD | NRIS | Benton County 115kV Substation | 309.96 |  | Battery Storage | Battery Storage | Not started |  | 300 | 300 | 500-600 | Benton, MN, LRZ 1 | N/A | Benton Energy Storage II is a 300 MW, 4 hour battery energy storage system in Benton County, Minnesota. The project is located in MISO Zone 1 and will meet the Zone 1 load needs outlined by Xcel Energy’s 2024-2040 Upper Midwest Integrated Resource Plan ("2024 IRP"). The 2024 IRP identified the need for 500 - 600 MW of standalone storage to support Xcel Energy’s plans to retire all of their coal plants by 2030.
E0041 | 100090 | Xcel Energy | Active | 40 | 2025-08-06 09:02 | 2027-07-29 | NORTHERN STATES POWER COMPANY | Sherbune | MN | TBD | NRIS | Sherburne Co 345kV Subtation | 313.92 | 313.92 | Battery Storage | Battery Storage | Not started |  | 300 | 300 | 300-400 | Sherbune, MN, LRZ 1 | N/A | The Sherco South BESS project is a proposed 300 MW/1,200 MWh project located at 13999 Industrial Blvd in Becker, Minnesota (Sherburne County). The project seeks 300 MW of Network Resource Interconnection Service and targets a COD of 11/26/2027. It is intended to support 300 - 400 MW of additional generation needed in the 2024-2040 Integrated Resource Plan.
E0042 | 100046 | Northern Indiana Public Services Company LLC | Active | 41 | 2025-08-06 09:35 | 2028-08-01 | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | Jasper | IN | TBD | NRIS | Schahfer Gen Sta | 2739.8 | 2739.8 | Gas | Combined Cycle | Not started |  | 2639 | 2639 | 2550 - 2800 | Jasper, IN, LRZ 6 | N/A | NIPSCO has submitted two combined cycle power plants (“CCGTs”) (total of approximately 2,639 MW) at NIPSCO’s Schahfer site (“Schahfer Project”) to the ERAS process. The Schahfer Project will address a resource adequacy deficiency within LRZ 6 for dispatchable resources, as supported by NIPSCO with its 2024 Integrated Resource Plan wherein NIPSCO anticipates up to 2,550-2,800 MW of additional load, for which the expedited review processes are necessary for resource adequacy to serve growing data center, advanced manufacturing, and other economic development project load requirements.
E0033 | 100054 | Northern Indiana Public Services Company LLC | Active | 42 | 2025-08-06 09:39 | 2028-08-01 | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | Lake | IN | TBD | NRIS | Mitchell Gen. Station | 526.68 | 526.68 | Battery Storage | Battery Storage | Not started |  | 500 | 500 | 2550-2800 | Lake, IN, LRZ 6 | N/A | NIPSCO has submitted for 500 MW of dispatchable batteries at NIPSCO’s Mitchell site (“Mitchell Project”) to the ERAS process. The Mitchell Project will address a resource adequacy deficiency within LRZ 6 for dispatchable resources, as supported by NIPSCO with its 2024 Integrated Resource Plan wherein NIPSCO anticipates up to 2,500-2,800 MW of additional load, for which the expedited review processes are necessary for resource adequacy to serve growing data center, advanced manufacturing, and other economic development project load requirements.
E0035 | 100055 | Northern Indiana Public Services Company LLC | Active | 43 | 2025-08-06 09:41 | 2028-08-01 | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | Porter | IN | TBD | NRIS | Malden 345kV Substation (new) | 1089.8 | 1089.8 | Gas | Combined Cycle | Not started |  | 859 | 859 | 2500-2800 | Porter, IN, LRZ 6 | N/A | NIPSCO has submitted an 859 MW combined cycle power plant (“CCGT”) at NIPSCO’s Malden site (“Malden Project”) to the ERAS process. The Malden Project will address a resource adequacy deficiency within LRZ 6 for dispatchable resources, as supported by NIPSCO with its 2024 Integrated Resource Plan wherein NIPSCO anticipates up to 2,550-2,800 MW of additional load, for which the expedited review processes are necessary for resource adequacy to serve growing data center, advanced manufacturing, and other economic development project load requirements.
E0004 | 100032 | Hackett Energy Storage LLC | Active | 44 | 2025-08-07 13:57 | 2027-09-01 | Michigan Electric Transmission Company | Saginaw | MI | TBD | NRIS | Bullock-Signaw River 138kV | 104.32 | 104.32 | Battery Storage | Battery Storage | Not started |  | 100 | 100 | 300-350 | Saginar, MI, LRZ 7 | N/A | The project is responding to a resource adequacy need of 300-350 MW under the Consumers Energy 2024 RFP. The project is located near Tittabawassee in Saginaw County, Michigan, which is in MISO Zone 7. This storage project is supplying capacity under the Consumers Energy 2024 RFP. No carveout was requested for this project.
E0028 | 100089 | Rochester Public Utilities | Active | 45 | 2025-08-11 15:59 | 2028-01-06 | Rochester Public Utilities | Olmsted | MN | TBD | NRIS | Westside 161 kV substation | 49.53 | 49.53 | Gas | Simple Cycle Natural Gas Turbine | Not started |  | 49 | 49 | 300-350 | Olmsted, MN, LRZ 1 | N/A | As part of the Rochester Public Utilities (RPU) 2030 Power Supply Resource Plan, firm dispatchable capacity from Mount Simon Station, a natural gas turbine generator, will meet a resource adequacy need/load growth of 300-350 MW in 2030 and will provide nearly 16% of RPU's estimated summer capacity obligation in 2030. The facility is designed to produce 49.9 MW at the Westside 161 kV substation POI. It located in Olmsted County, Minnesota.
E0034 | 100122 | Basin Electric Power Cooperative | Active | 46 | 2025-08-12 13:07 | 2027-11-01 | NORTHERN STATES POWER COMPANY | Brookings | SD | TBD | NRIS | Brookings County | 265 | 265 | Gas | Simple Cycle Natural Gas Turbine | Not started |  | 250 | 250 | 200-250 | Brookings, SD, LRZ 1 | N/A | Interconnection Customer: Basin Electric Power Cooperative Megawatt Range: 200 - 250 MW Location: Brookings County, South Dakota Description of need: Simple Cycle Natural Gas Turbine serving a Resource Adequacy capacity need
E0039 | 100120 | Northern Indiana Public Services Company LLC | Active | 47 | 2025-08-13 14:01 | 2027-05-01 | NORTHERN STATES POWER COMPANY | Porter | IN | TBD | NRIS | Malden 345kV Substation (new) | 630.42 | 630.42 | Battery Storage | Battery Storage | Not started |  | 600 | 600 | 2550-2800 | Porter, IN, LRZ 6 | N/A | NIPSCO submitted a 600 MW Battery Energy Storage System (“BESS”) at NIPSCO’s Malden site (“Malden BESS Project”) to the ERAS process. The Malden BESS Project will address a resource adequacy deficiency within LRZ 6 for dispatchable resources, as supported by NIPSCO with its 2024 Integrated Resource Plan wherein NIPSCO anticipates up to 2,550-2,800 MW of additional load in the reference case. NIPSCO has now surpassed the lower reference case. The Malden BESS Project will address additional large loads that moves NIPSCO from the IRP reference case into the 8,800 MW high load scenario, for which the expedited review processes are necessary for resource adequacy to serve growing data center, advanced manufacturing, and other economic development project load requirements.
E0043 | 100144 | Entergy Louisiana, LLC | Active | 48 | 2025-08-28 14:53 | 2028-08-04 | Entergy Louisiana, LLC | Richland | LA | TBD | NRIS | West Fork Creek 230kV Substation (New) | 1640 | 1640 | Gas | Combined Cycle | Not started |  | 1531.4 | 1531.4 | 2000-2250 | Richlan Parish, LA LRZ 9 | N/A | Developer: Entergy Louisiana, LLC MW range of need: 2,000 - 2,250 MW LRZ region: 9 General description of Load Need: The resource adequacy need is being driven by a hyperscale data center. The Richland Parish generators are proposed to serve the outlined resource adequacy need.
E0044 | 100145 | Entergy Louisiana, LLC | Active | 49 | 2025-08-28 14:53 | 2028-08-04 | Entergy Louisiana, LLC | Richland | LA | TBD | NRIS | West Fork Creek 230kV Substation (New) | 1640 | 1640 | Gas | Combined Cycle | Not started |  | 1531.4 | 1531.4 | 2000-2250 | Richlan Parish, LA LRZ 9 | N/A | Developer: Entergy Louisiana, LLC MW range of need: 2,000 - 2,250 MW LRZ region: 9 General description of Load Need: The resource adequacy need is being driven by a hyperscale data center. The Richland Parish generators are proposed to serve the outlined resource adequacy need.
E0045 | 100146 | Entergy Louisiana, LLC | Active | 50 | 2025-08-28 14:54 | 2028-08-04 | Entergy Louisiana, LLC | Calcasieu | LA | TBD | NRIS | Nelson 230kV Substation (new) | 770 | 770 | Gas | Combined Cycle | Not started |  | 767.7 | 767.7 | 1750-2000 | Calcasieu Parish , LA LRZ 9 | N/A | Developer: Entergy Louisiana, LLC MW Range of Need: 1,750 – 2,000 MW LRZ region: Local Resource Zone 9 General Description of Load Need: The driver of the resource is to provide generation to support load growth and future unit deactivations. In 2024, ELL initiated a request for proposal to acquire up to 2,000 MW of Capacity, Capacity-Related Benefits (such as ZRCs and capacity-related benefits, energy, and other credits), energy, Other Electric Products, and Environmental Attributes from a single generation resource located in MISO Local Resource Zone-9 (“LRZ-9”).
In advance of the start of each ERAS quarterly cycle, MISO will post the ten projects that will be studied within that cycle based on updated common constraint analysis and any potential withdrawals.